**Referenced to Water Corporation Standards: DS26-41.**

**Specifically refer to the ANNEXURE TO SPECIFICATION and TENDER TECHNICAL RESPONSE SCHEDULE for this Contract.**

|  |  |
| --- | --- |
| **1. GENERAL DATA** | |
| PROJECT NAME: | PROJECT NO: |
| WC P.O. / CONTRACT NO: | LINE / ITEM NO: |

|  |  |
| --- | --- |
| **2. ACTUATOR DATA** | |
| WC VALVE NO: | WC VALVE TYPE: |
| MAKE: | MODEL: |
| SERIAL NO: | DUTY: |
| TYPE: PART TURN  MULTI TURN  LINEAR TYPE: | |
| POWER SUPPLY: 1Φ  3Φ  DC | KW: |
| NOM. TORQUE 100%: | RPM: or SECS/90º: |
| CURRENT In (40% Torque): | CURRENT Is (100% Torque): |
| CURRENT Icc (Locked Rotor): | VOLTAGE: |
| PROTECTION DEGREE: | Tamb. RANGE (ºC): |
| CERTIFICATE: | TAG: |
| WC DWG NO.: | MF DWG NO.: |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **3. INSPECTION** | | **DONE**  **/YES** | **NO** | **N/A** | **COMMENTS/DETAILS** |
| 1 | Location of factory test and inspection. |  | | | |
| 2 | Actuator body and enclosure covers undamaged. |  |  |  |  |
| 3 | Actuator in accordance with drawings and specification. |  |  |  |  |
| 4 | Hand wheel and manual lever undamaged. |  |  |  |  |
| 5 | Push buttons undamaged. |  |  |  |  |
| 6 | Display area glass undamaged. |  |  |  |  |
| 7 | Selector switch undamaged. |  |  |  |  |
| 8 | Cable entry plugs suitable for method of storage (i.e., indoor/outdoor). |  |  |  |  |
| 9 | O-Ring seals on enclosure covers intact. |  |  |  |  |
| 10 | No oil leaks. |  |  |  |  |
| 11 | Actuator suitably stored off ground (i.e., on wooden pallet). |  |  |  |  |
| 12 | Valve to be motorised is appropriate for coupling to the actuator. |  |  |  |  |
| 13 | Factory test certificate provided and attached. |  |  |  |  |
| 14 | Location of delivery inspection. |  | | | |

|  |
| --- |
| **4. REMARKS / REMEDIAL ACTIONS** |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **5. SIGNOFFS** | |  | | |
| NAME (PRINT) | COMPANY / ROLE | | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | | SIGNATURE | DATE |