| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |

| 2. BATTERY CHARGER DATA |
| --- |
| Switchboard name: |
| Manufacturer: | Serial No.: |
| Date of Manufacture: | Model No.: |
| Voltage Inputs: | Input current: |
| Frequency: | Ratings: |
| Output voltage: | Output current: |
| Output power: |  |
| ALARM |
| V(DC) high: | V(DC) low: |
| Earth fault: |  |
| BATTERY |
| Type: | No of cells: |
| A/H: |  |

| 3. INSPECTION | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |

| 1 | Battery charger orientated and arranged as per drawings |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 2 | Interlocks and keys as per drawings and all doors operate correctly |  |  |  |  |
| 3 | Labels as per drawings |  |  |  |  |
| 4 | Battery charger internals clean |  |  |  |  |
| 5 | All bolted joints tightened correctly |  |  |  |  |
| 6 | LV cables installed correctly |  |  |  |  |
| 7 | DC, protection and control cables installed correctly |  |  |  |  |

4. REMARKS / REMEDIAL ACTIONS

| 5. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |