| 1. GENERAL DATA |
| --- |
| PROJECT NAME: |
| PROJECT NO.: |
| WC P.O. NO.: | LINE NO.: |

| 2. CABLE DATA |
| --- |
| CABLE NO.: | MANUFACTURER(S) (MF): |
| MF DWG NO.(S): | WC DWG NO.(S): |
| VOLTAGE RATING: | DRUM NO.: |
| FROM: | TO: |
| TERMINATION KIT (TK) TYPE: | TK CAT. NO.: |

| 3. POST-INSTALLATION INSULATION TEST |
| --- |
| 3.1 Insulation Test Equipment |
| Manufacturer: | Model: |
| Serial No.: | Last Calibration Date: |
| 3.2 Insulation Test Results |
| Test Connection | Post Laying Insulation Test |
|  | Test Volts (kV) | Reading (MΩ) |
| R-WBE |  |  |
| W-RBE |  |  |
| B-RWE |  |  |
| E-RWB |  |  |
| Cable Screen - E |  |  |

| 4. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | All isolations and tagging procedures initiated? (where applicable). |  |  |  |  |
| 2 | Cable is correct size as stipulated in schedule? |  |  |  |  |
| 3 | Cable is correct type as stipulated in schedule? |  |  |  |  |
| 4 | Cable identification markings in place? |  |  |  |  |
| 5 | No mechanical damage to cable? |  |  |  |  |
| 6 | Cable glands, shrouds and locknuts are tight and installed correctly at both ends? |  |  |  |  |
| 7 | Cable gland plate secure and earthed at both ends? |  |  |  |  |
| 8 | All termination nuts, washers and spring washers in place at both ends? |  |  |  |  |
| 9 | All cable termination lugs crimped and terminals clean and free of dust at both ends? |  |  |  |  |
| 10 | HV termination kit installed correctly at both ends? |  |  |  |  |
| 11 | Earth cable terminated at both ends? |  |  |  |  |
| 12 | Cable screen terminated at both ends? (if applicable) |  |  |  |  |
| 4. INSPECTION cont’d | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| 13 | Cable bending radius not exceeded at both ends? |  |  |  |  |
| 14 | All terminations – at both ends - tight and to torque requirements (where required)? |  |  |  |  |
| 15 | Contact area of the lug or termination exceeds the cable conductor area at both ends? |  |  |  |  |

5. REMARKS / REMEDIAL ACTIONS

| 6. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |