| 1. GENERAL DATA |
| --- |
| PROJECT NAME: |
| PROJECT NO.: |
| WC P.O. NO.: | LINE NO.: |

| 2. TEST |
| --- |
| 2.1 Test Equipment |
| Manufacturer: | Model: |
| Serial No.: | Last Calibration Date: |
| Voltage: 500V | Test Duration: 60 seconds |
| 2.2 Test Results |
| See attached test sheets |

3. REMARKS / REMEDIAL ACTIONS

| 4. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |

| 2.2 INSTALLATION TEST |
| --- |
| Cable No. | From | To | Cable Numbered Correctly | Cable Size and Type Correct | Cable Installation Completed Satisfactorily | Cable Glands Completed and Tight | Cable Ends Made Up and Terminated Satisfactorily | Phasing Correct | Continuity of Earth Conductor/ Screen Satisfactory | Cable Shielding as per Drawings | Continuity Checked | Insulation Lowest Reading (MΩ) | Checked By / Date |

| 2.2 INSTALLATION TEST cont’d |
| --- |
| Cable No. | From | To | Cable Numbered Correctly | Cable Size and Type Correct | Cable Installation Completed Satisfactorily | Cable Glands Completed and Tight | Cable Ends Made Up and Terminated Satisfactorily | Phasing Correct | Continuity of Earth Conductor/ Screen Satisfactory | Cable Shielding as per Drawings | Continuity Checked | Insulation Lowest Reading (MΩ) | Checked By / Date |

| 2.2 INSTALLATION TEST cont’d |
| --- |
| Cable No. | From | To | Cable Numbered Correctly | Cable Size and Type Correct | Cable Installation Completed Satisfactorily | Cable Glands Completed and Tight | Cable Ends Made Up and Terminated Satisfactorily | Phasing Correct | Continuity of Earth Conductor/ Screen Satisfactory | Cable Shielding as per Drawings | Continuity Checked | Insulation Lowest Reading (MΩ) | Checked By / Date |