| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |
| 2. PRESSURE TRANSMITTER DATA |
| WC TAG NO.: | WC DESCRIPTION: |
| WC DWG NO.: | MANUFACTURER: |
| MODEL NO.: | SERIAL NO.: |
| MODEM TYPE (e.g. 4G): | POWER: |
| 3. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| 1 | Data logger located and mounted correctly. Label in place. |  |  |  |  |
| 2 | Data SIM card inserted. |  |  |  |  |
| 3 | Internal battery connected, fastened tight to the bottom of data logger with battery clip in place. |  |  |  |  |
| 4 | External antenna connected and installed (as required by the design) |  |  |  |  |
| 5 | Data logger to instrument cable(s) connected |  |  |  |  |
| 6 | External battery or power supply connected (as required by the design) |  |  |  |  |
| 4. REMARKS / REMEDIAL ACTIONS |
| 5. SIGNOFFS |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |