|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **1. GENERAL DATA** | | | | | | | | | | |
| PROJECT NAME: | | | | PROJECT NO.: | | | | | | |
| WC P.O. / CONTRACT NO.: | | | | LINE / ITEM NO.: | | | | | | |
|  | | | |  | | | | | | |
| **2. PRESSURE TRANSMITTER DATA** | | | | | | | | | | |
| WC TAG NO.: | | | | | WC DESCRIPTION: | | | | | |
| WC DWG NO.: | | | | | MANUFACTURER: | | | | | |
| MODEL NO.: | | | | | SERIAL NO.: | | | | | |
| MODEM TYPE (e.g. 4G): | | | | | POWER: | | | | | |
|  | | | | |  | | | | | |
| **3. INSPECTION** | | | **DONE**  **/YES** | | | **NO** | | **N/A** | **COMMENTS/DETAILS** | |
| 1 | Data logger located and mounted correctly. Label in place. | |  | | |  | |  |  | |
| 2 | Data SIM card inserted. | |  | | |  | |  |  | |
| 3 | Internal battery connected, fastened tight to the bottom of data logger with battery clip in place. | |  | | |  | |  |  | |
| 4 | External antenna connected and installed (as required by the design) | |  | | |  | |  |  | |
| 5 | Data logger to instrument cable(s) connected | |  | | |  | |  |  | |
| 6 | External battery or power supply connected (as required by the design) | |  | | |  | |  |  | |
|  | | | | | | | | | | |
| **4. REMARKS / REMEDIAL ACTIONS** | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
| **5. SIGNOFFS** | | | |  | | | | | | |
| NAME (PRINT) | | COMPANY / ROLE | | | | | SIGNATURE | | | DATE |
| NAME (PRINT) | | COMPANY / ROLE | | | | | SIGNATURE | | | DATE |
| NAME (PRINT) | | COMPANY / ROLE | | | | | SIGNATURE | | | DATE |