| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |
| 2. DATA LOGGER DATA |
| WC TAG NO.: | WC DESCRIPTION: |
| WC DWG NO.: | MANUFACTURER: |
| MODEL NO.: | SERIAL NO.: |
| MODEM TYPE (e.g. 4G): | POWER: |
| 3. TEST | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| 1 | Confirm data logger can be connected to in the relevant software |  |  |  |  |
| 2 | Confirm data logger has been loaded with the most recent firmware available in MDT |  |  |  |  |
| 3 | Confirm data logger has been loaded with the correct configuration |  |  |  |  |
| 4 | Confirm data logger has sufficient signal strength |  |  |  |  |
| 5 | Confirm data logger is able to poll and upload data |  |  |  |  |
| 6 | Confirm battery voltage or power supply voltage is healthy |  |  |  |  |
| 7 | Confirm unsolicited poll (manually activated by magnetic reed switch) has been configured |  |  |  |  |

4. REMARKS / REMEDIAL ACTIONS

| 5. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |