|  |
| --- |
| **1. GENERAL DATA** |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |
|  |  |
| **2. DATA LOGGER DATA** |
| WC TAG NO.: | WC DESCRIPTION: |
| WC DWG NO.: | MANUFACTURER: |
| MODEL NO.: | SERIAL NO.: |
| MODEM TYPE (e.g. 4G):  | POWER: |
|  |  |
| **3. TEST** | **DONE****/YES** | **NO** | **N/A** | **COMMENTS/DETAILS** |
| 1 | Confirm data logger can be connected to in the relevant software |[ ] [ ] [ ]   |
| 2 | Confirm data logger has been loaded with the most recent firmware available in MDT |[ ] [ ] [ ]   |
| 3 | Confirm data logger has been loaded with the correct configuration |[ ] [ ] [ ]   |
| 4 | Confirm data logger has sufficient signal strength |[ ] [ ] [ ]   |
| 5 | Confirm data logger is able to poll and upload data |[ ] [ ] [ ]   |
| 6 | Confirm battery voltage or power supply voltage is healthy |[ ] [ ] [ ]   |
| 7 | Confirm unsolicited poll (manually activated by magnetic reed switch) has been configured |[ ] [ ] [ ]   |

|  |
| --- |
| **4. REMARKS / REMEDIAL ACTIONS** |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |

|  |  |
| --- | --- |
| **5. SIGNOFFS** |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |