| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. NO.: |  |
| 2. MAGNETIC FLOW METER DATA |
| MANUFACTURER: |  |
| WC MAG. FLOW METER NO.: | WC DWG NO.: |
| If section 3 completed in supply verification, leave section 3 below blank |
| 3.1 SENSOR DATA |
| MODEL: | ORDER NO.: |
| SERIAL NO.: | PRESSURE RATING: |
| DIAMETER |  |
| 3.2 TRANSMITTER DATA |
| MODEL: | ORDER NO.: |
| SERIAL NO.: | POWER SUPPLY: |
| RANGE: |  |
| COMMUNICATION (HARDWIRED, MODBUS, HART, PROFIBUS PA, PROFIBUS DP): |

| 4. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Sensor orientation correct |  |  |  |  |
| 2 | Sensor insulated from pipe (inc. results –using multimeter) |  |  |  | RESULT: |
| 3 | No earth stake connected to sensor |  |  |  |  |
| 4 | Earthing rings installed and connected |  |  |  |  |
| 5 | Bonding cable around sensor |  |  |  |  |
| 6 | Special signal cable (double screen) used where reqd. |  |  |  |  |
| 7 | Special signal cable run in anaconda conduit earthed at transmitter end only |  |  |  |  |
| 8 | SensorProm installed in transmitter |  |  |  |  |
| 9 | Electrode and coil cables terminated correctly |  |  |  |  |
| 10 | All connections tight, and correct |  |  |  |  |
| 11 | Verificator test successful & results att. (Siemens only) |  |  |  |  |
| 12 | Cables glanded and sensor head potted – If required as per project design |  |  |  |  |
| 13 | Sensor wrapped completely (if buried) |  |  |  |  |
| 14 | Sunshade provided - If required as per project design |  |  |  |  |

5. REMARKS / REMEDIAL ACTIONS

| 6. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |