| 1. GENERAL DATA |  |  |
| --- | --- | --- |
| PROJECT NAME: | PROJECT NO.: |  |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |  |
| 2. DISSOLVED OXYGEN ANALYSER DATA |  |  |
| WC TAG NO.: |  | WC DESCRIPTION: |
| WC DWG NO.: |  | MANUFACTURER: |
| HAZARDOUS AREA CERT.: YES NO |  |  |
| 2.1 TRANSMITTER DATA |  |  |
| MODEL NO.: |  | SERIAL NO.: |
| OUTPUT: |  | CALIBRATED RANGE: |
| POWER SUPPLY : |  | IP RATING: |
| 2.2 SENSOR DATA |  |  |
| MODEL NO.: |  | SERIAL NO.: |
| IP RATING : |  |  |

| 3. FIELD INSTALLATION |  | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- | --- |
| 3.1 General |  |  |  |  |  |
| 1 | Point to point testing completed |  |  |  |  |
| 2 | Installation in accordance with Specification (maintainability, optimum operability, etc.) |  |  |  |  |
| 3 | Earthing correct |  |  |  |  |
| 4 | Orientation correct |  |  |  |  |
| 5 | Location correct |  |  |  |  |
| 6 | Process connection correct |  |  |  |  |
| 7 | Cable checks completed – wires terminated |  |  |  |  |
| 8 | Polarity correct |  |  |  |  |
| 3.2 Completion |  |  |  |  |  |
| 1 | Leave de-energised |  |  |  |  |
| 2 | When inspection has been completed and any remedial action performed as required, affix a yellow status label to instrument cover to indicate completion of construction verification checks. |  |  |  |  |

4. REMARKS / REMEDIAL ACTIONS

| 5. SIGNOFFS |  |  |  |  |
| --- | --- | --- | --- | --- |
| NAME (PRINT) | COMPANY / ROLE |  | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE |  | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE |  | SIGNATURE | DATE |