| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |
| 2. DISSOLVED OXYGEN ANALYSER DATA |
| WC TAG NO.: | WC DESCRIPTION: |
| WC DWG NO.: | MANUFACTURER: |
| HAZARDOUS AREA CERT.: YES NO |
| 2.1 TRANSMITTER DATA |
| MODEL NO.: | SERIAL NO.: |
| OUTPUT: | CALIBRATED RANGE: |
| POWER SUPPLY : | IP RATING: |
| 2.2 SENSOR DATA |
| MODEL NO.: | SERIAL NO.: |
| IP RATING : |  |

| 3. TEST | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| Supply Circuit Breaker/Fuse OK and closed. |  |  |  |  |
| Power/signal cables point-point checked |  |  |  |  |
| Transmitter power connections correct |  |  |  |  |
| Transmitter signal connections correct |  |  |  |  |
| Loop drawing as constructed |  |  |  |  |
| Programmed as per setting sheet |  |  |  |  |
| Transmitter displays (values, units and alarm messages) as expected |  |  |  |  |

| 4. COMPLETION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| Loop drawing as built. |  |  |  |  |
| Terminals tight and enclosure secure. |  |  |  |  |
| Loop left energised. |  |  |  |  |

5. REMARKS / REMEDIAL ACTIONS

| 6. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |