Procedure

- Check instrument is correctly installed in regard to:

- Plant location and identification.

- Height and method.

- Process connection.

- Orientation.

- Installation, mounting and workmanship.

- Any associated items as required.

- Other items indicated on the test record.

- After signal cable continuity checks are complete, check cables and wiring are connected in accordance with the hookup and loop drawing, carefully checking for correct voltage and earthing arrangements.

- Record results, checking off all applicable items.

- When inspection has been successfully completed and any remedial actions performed as required, affix a yellow status label to instrument cover to indicate completion of construction verification checks.

| 1. GENERAL DATA |
| --- |
| PROJECT NAME: |
| PROJECT NO.: |
| WC P.O. NO.: | LINE NO.: |

| 2. PRESSURE SWITCH DATA |
| --- |
| MANUFACTURER (MF): | VENDOR DATA SHEET SUPPLIED? |
| MODEL NO.: | SERIAL NO.: |
| MF PRESSURE SWITCH NO.: | MF DWG NO.: |
| WC PRESSURE SWITCH NO.: | WC DWG NO.: |
| RANGE: | ELECTRICAL CONN. |
| DIFFERENTIAL: | DIAPHRAGM SEAL: |
| PROCESS CONN.: | FLANGE MTRL: |
| CAPILLARY MTRL: | CAPILLARY LENGTH: |
| HAZARDOUS AREA CERT.: YES NO |

| 4. FIELD INSTALLATION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 4.1 General |
| 1 | Point to point testing completed |  |  |  |  |
| 2 | Installation in accordance with Specification |  |  |  |  |
| 3 | Impulse lines purged and pressure tested |  |  |  |  |
| 4 | Location correct |  |  |  |  |
| 5 | Process connection correct |  |  |  |  |
| 6 | Orientation correct |  |  |  |  |
| 7 | Earthing correct |  |  |  |  |
| 8 | Cable checks completed – wires terminated |  |  |  |  |
| 9 | Polarity correct |  |  |  |  |
| 10 | Sun enclosure installed as per documentation |  |  |  |  |
| 4.2 Completion |
| 1 | Leave de-energised |  |  |  |  |
| 2 | Yellow tag affixed signifying the successful completion of construction verification checks and any remedial actions |  |  |  |  |

5. REMARKS / REMEDIAL ACTIONS

| 6. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |