| 1. GENERAL DATA |
| --- |
| PROJECT NAME: |  |
| PROJECT NO.: |  |
| 2. MOTOR DATA |
| MAKE: | TYPE: |
| SERIAL NO.: | FRAME: |
| ENCLOSURE PROTECTION: | COOLING: |
| KW: | INSULATION CLASS: |
| VOLTAGE: | AMPS: |
| SPEED: | FREQUENCY: |
| STATOR CONNECTION: |  |
| 3. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| 1 | Location of motor |  |  |  |  |
| 2 | Motor undamaged. |  |  |  |  |
| 3 | Motor earth cables installed correctly. |  |  |  |  |
| 4 | Motor cables labelled |  |  |  |  |
| 5 | Motor cable meggered, record insulation level and test voltage used |  |  |  | Insulation = Mohm Test Volts = VAC |
| 6 | Motor earth cables installed correctly. |  |  |  |  |
| 7 | Check float switch free movement |  |  |  |  |
| 4. REMARKS / REMEDIAL ACTIONS |
| 5. SIGNOFFS |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |