| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |

| 2. MOTOR DATA |
| --- |
| MAKE: | TYPE: |
| SERIAL NO.: | COOLING: |
| ENCLOSURE PROTECTION: | INSULATION CLASS: |
| KW: | AMPS: |
| VOLTAGE: | FREQUENCY: |
| SPEED: |  |
| STATOR CONNECTION: |  |

| 3. TESTS | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Megger motor including– confirm acceptable. Record insulation level |  |  |  | Insulation level = Mohm |
| 2 | Check sump pump supply voltage at convenient terminal near sump pump or switchboard. |  |  |  | R-W = VAC R – B = VAC W – B = VAC |
| 3 | Flick test sump pump and check rotation direction |  |  |  |  |
| 4 | Confirm sump pump will start on high float level |  |  |  |  |
| 5 | Record sump pump running currents |  |  |  | I red = amps I white = amps I blue = amps |
| 6 | Confirm sump pump will stop on low float level |  |  |  |  |
| 7 | Confirm sump pump overload protection trips. Test by lowering setting on overload relay |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |

| 4. REMARKS / REMEDIAL ACTIONS |
| --- |
| 6. SIGNOFFS |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |