| 1. GENERAL DATA |
| --- |
| PROJECT NAME: |
| PROJECT NO.: |
| WC P.O. NO.: | LINE NO.: |

| 2. TRENCH DATA |
| --- |
| FROM: | TO: |
| WC DWG NO.(S): |  |

| 3. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Depth of trench sufficient for the types of cables installed. |  |  |  |  |
| 2 | Width of trench sufficient for cable segregation required. |  |  |  |  |
| 3 | Bedding sand free of rocks and debris and of sufficient depth (min 150mm). |  |  |  |  |
| 4 | Installed cable depth, cable segregation and bending radius as per specification requirements. |  |  |  | Depth = ____________ mm Min Segregation = _____________mm Min Bending Radius = __________mm |
| 5 | Installed cables visually undamaged. |  |  |  |  |
| 6 | Conduits are correct for application (e.g. HD electrical orange for power, white for communications etc.) and all joints are glued. |  |  |  |  |
| 7 | Cover sand free of rocks and debris and of sufficient depth (min 150mm). |  |  |  |  |
| 8 | Backfill material above cover sand is suitable. |  |  |  |  |
| 9 | Protection slab and market tape installed at correct depths. |  |  |  |  |
| 10 | Backfill compacted and surplus material removed. |  |  |  |  |
| 11 | Road and footpath crossings made good |  |  |  |  |
| 12 | Cable route markers installed. |  |  |  |  |
| 13 | Spare conduits have draw wires and ends sealed. |  |  |  |  |
| 14 | Drawings marked up with route changes |  |  |  |  |

4. REMARKS / REMEDIAL ACTIONS

| 6. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |