| 1. GENERAL DATA |
| --- |
| PROJECT NAME: |
| PROJECT NO.: |
| P.O. NO.: | LINE NO.: |
| 2. DECOUPLER DATA |
| MANUFACTURER (MF): | TYPE: |
| SIZE:DN | CLASS: |
| MODEL NO.: |
| MF SERIAL NO.: | MF DWG NO.: |
| WC VALVE NO.: | WC DWG NO.: |
| VALVE SEATING TYPE: |
| 4. INSPECTION & TEST |
| 1 | All connections , bolts and studs installed as per drawings |
| 2 | All earth mats installed as per drawings |
| 3 | Earth Mats installed correctly |
| 4 | Decouplers installed and wired correctly |
| 5 | Bollards/ Pits/ Installed correctly |
| 6 | Electrodes installed correctly to correct depth and with correct materials – 50/50 slurry of Bentonite/ Gypsum |
| 7 | Asphalt is per Standard IEEE Std 80-2000 (50kg) |
| 8 |  |
| 9 |  |
| 10 |  |
| 11 |  |
| 12 |  |

| 5. PIPE CHAINAGE/ LOCATION/ | EARTHING SYSTEM NUMBER | SYSTEM | QTY/ DEPTH | COMPONENT | PASS | FAIL | INITIAL | DRAWING No. | COMMENTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | DEPTHX DIA |  |  |  |  |  |
|  |  |  |  | SLURRY |  |  |  |  |  |
|  |  |  |  | CONNECTION |  |  |  |  |  |
|  |  |  |  | ELECTRODE |  |  |  |  |  |
|  |  |  |  | CONDUCTORS |  |  |  |  |  |
|  |  |  |  | DECOUPLERS |  |  |  |  |  |
|  |  |  |  | DEPTHX DIA |  |  |  |  |  |
|  |  |  |  | SLURRY |  |  |  |  |  |
|  |  |  |  | CONNECTION |  |  |  |  |  |
|  |  |  |  | ELECTRODE |  |  |  |  |  |
|  |  |  |  | CONDUCTORS |  |  |  |  |  |
|  |  |  |  | DECOUPLERS |  |  |  |  |  |
|  |  |  |  | DEPTHX DIA |  |  |  |  |  |
|  |  |  |  | SLURRY |  |  |  |  |  |
|  |  |  |  | CONNECTION |  |  |  |  |  |
|  |  |  |  | ELECTRODE |  |  |  |  |  |
|  |  |  |  | CONDUCTORS |  |  |  |  |  |
|  |  |  |  | DEPTHX DIA |  |  |  |  |  |
|  |  |  |  | SLURRY |  |  |  |  |  |
|  |  |  |  | CONNECTION |  |  |  |  |  |
|  |  |  |  | ELECTRODE |  |  |  |  |  |
|  |  |  |  | CONDUCTORS |  |  |  |  |  |
|  |  |  |  | DECOUPLERS |  |  |  |  |  |
|  |  |  |  | DEPTHX DIA |  |  |  |  |  |
|  |  |  |  | SLURRY |  |  |  |  |  |
|  |  |  |  | CONNECTION |  |  |  |  |  |
|  |  |  |  | ELECTRODE |  |  |  |  |  |
|  |  |  |  | CONDUCTORS |  |  |  |  |  |
|  |  |  |  | DECOUPLERS |  |  |  |  |  |
|  |  |  |  | DEPTHX DIA |  |  |  |  |  |
|  |  |  |  | SLURRY |  |  |  |  |  |
|  |  |  |  | CONNECTION |  |  |  |  |  |
|  |  |  |  | ELECTRODE |  |  |  |  |  |
|  |  |  |  | CONDUCTORS |  |  |  |  |  |
|  |  |  |  | DECOUPLERS |  |  |  |  |  |
|  |  |  |  | DEPTHX DIA |  |  |  |  |  |
|  |  |  |  | SLURRY |  |  |  |  |  |
|  |  |  |  | CONNECTION |  |  |  |  |  |
|  |  |  |  | ELECTRODE |  |  |  |  |  |
|  |  |  |  | CONDUCTORS |  |  |  |  |  |
|  |  |  |  | DECOUPLERS |  |  |  |  |  |
|  |  |  |  | DEPTHX DIA |  |  |  |  |  |
|  |  |  |  | SLURRY |  |  |  |  |  |
|  |  |  |  | CONNECTION |  |  |  |  |  |
|  |  |  |  | ELECTRODE |  |  |  |  |  |
|  |  |  |  | CONDUCTORS |  |  |  |  |  |
|  |  |  |  | DECOUPLERS |  |  |  |  |  |
|  |  |  |  | DEPTHX DIA |  |  |  |  |  |
|  |  |  |  | SLURRY |  |  |  |  |  |
|  |  |  |  | CONNECTION |  |  |  |  |  |
|  |  |  |  | ELECTRODE |  |  |  |  |  |
|  |  |  |  | CONDUCTORS |  |  |  |  |  |
|  |  |  |  | DECOUPLERS |  |  |  |  |  |
|  |  |  |  | DEPTHX DIA |  |  |  |  |  |
|  |  |  |  | SLURRY |  |  |  |  |  |
|  |  |  |  | CONNECTION |  |  |  |  |  |
|  |  |  |  | ELECTRODE |  |  |  |  |  |
|  |  |  |  | CONDUCTORS |  |  |  |  |  |
|  |  |  |  | DECOUPLERS |  |  |  |  |  |
|  |  |  |  | DEPTHX DIA |  |  |  |  |  |
|  |  |  |  | SLURRY |  |  |  |  |  |
|  |  |  |  | CONNECTION |  |  |  |  |  |
|  |  |  |  | ELECTRODE |  |  |  |  |  |
|  |  |  |  | CONDUCTORS |  |  |  |  |  |
|  |  |  |  | DECOUPLERS |  |  |  |  |  |
|  |  |  |  | DEPTHX DIA |  |  |  |  |  |
|  |  |  |  | SLURRY |  |  |  |  |  |
|  |  |  |  | CONNECTION |  |  |  |  |  |
|  |  |  |  | ELECTRODE |  |  |  |  |  |
|  |  |  |  | CONDUCTORS |  |  |  |  |  |
|  |  |  |  | DECOUPLERS |  |  |  |  |  |
|  |  |  |  | DEPTHX DIA |  |  |  |  |  |
|  |  |  |  | SLURRY |  |  |  |  |  |
|  |  |  |  | CONNECTION |  |  |  |  |  |
|  |  |  |  | ELECTRODE |  |  |  |  |  |
|  |  |  |  | CONDUCTORS |  |  |  |  |  |
|  |  |  |  | DECOUPLERS |  |  |  |  |  |
|  |  |  |  | DEPTHX DIA |  |  |  |  |  |
|  |  |  |  | SLURRY |  |  |  |  |  |
|  |  |  |  | CONNECTION |  |  |  |  |  |
|  |  |  |  | ELECTRODE |  |  |  |  |  |
|  |  |  |  | CONDUCTORS |  |  |  |  |  |
|  |  |  |  | DECOUPLERS |  |  |  |  |  |

| 6. REMARKS / REMEDIAL ACTIONS |
| --- |
| 7. SIGNOFFS |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |