**Referenced to Water Corporation Standards: DS26-05, DS26-27 AND DS26-45.**

**Specifically refer to the ANNEXURE TO SPECIFICATION and TENDER TECHNICAL RESPONSE SCHEDULE for this Contract.**

|  |  |
| --- | --- |
| **1. GENERAL DATA** | |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |

|  |  |
| --- | --- |
| **2. GENERATOR DATA** | |
| MAKE: | KW/KVA: |
| SERIAL NO: | VOLTAGE: |
| TYPE/MODEL: | CURRENT: |
| FRAME: | FREQUENCY: |
| ENCLOSURE PROTECTION: | SPEED: |
| COOLING: | BATTERY VOLTAGE: |
| INSULATION CLASS: | ENGINE TYPE: |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **3. INSPECTION** | | **DONE**  **/YES** | **NO** | **N/A** | **COMMENTS/DETAILS** |
| 1 | Location of factory test and inspection. |  | | | |
| 2 | Generator undamaged. |  |  |  |  |
| 3 | Visual inspection of kiosk enclosure results provided & attached. |  |  |  |  |
| 4 | General Workmanship. |  |  |  |  |
| 5 | Generator in accordance with drawings and specification. |  |  |  |  |
| 6 | Insulation resistance test results provided and attached. |  |  |  |  |
| 7 | Resistance measurements of windings and elements provided and attached. |  |  |  |  |
| 7 | Direction of rotation results provided & attached. |  |  |  |  |
| 9 | Generator load performance data provided & attached. |  |  |  |  |
| 10 | Noise level test result provided & attached. |  |  |  |  |
| 11 | Confirm presence of 15A inlet socket for Battery charger. |  |  |  |  |
| 12 | Test operation of Emergency push button. |  |  |  |  |
| 13 | Confirm fuel tank drain valve and plug are present. |  |  |  |  |
| 14 | Confirm fuel bund drain plug easily accessible. |  |  |  |  |
| 15 | Confirm Circuit breaker rating as per the required specifications. |  |  |  |  |
| 16 | Generator Manuals supplied |  |  |  |  |
| 17 | Location of delivery inspection. |  | | | |

|  |
| --- |
| **4. REMARKS / REMEDIAL ACTIONS** |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **5. SIGNOFFS** | |  | | |
| NAME (PRINT) | COMPANY / ROLE | | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | | SIGNATURE | DATE |