| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |

| 2. CIRCUIT BREAKER DATA |
| --- |
| Switchboard Name: |
| Cubicle No.: | CB No.: |
| Panel No.: | Rated Voltage: |
| Switchboard Type: | Rated Current: |
| Maximum Breaking Capacity: | Frequency: |
| Insulation Level: | Insulating Oil/Gas type: |
| Short Time Withstand Current: |  |

| 3. INSPECTION YES NO N/A COMMENTS/DETAILS |
| --- |
| 1 | Safety shutters operational |  |  |  |  |
| 2 | Electrical interlocks correct |  |  |  |  |
| 3 | Mechanical position indicators correct |  |  |  |  |
| 4 | Indicating light correct |  |  |  |  |
| 5 | Mechanical tripping/closing correct |  |  |  |  |
| 6 | Electrical tripping/closing correct ‘local’ |  |  |  |  |
| 7 | Electrical tripping/closing correct ‘remote’ |  |  |  |  |
| 8 | Alarm indications correct |  |  |  |  |
| 9 | Withdrawing/racking mechanism correct |  |  |  |  |
| 10 | Circuit earthing operation |  |  |  |  |
| 11 | Key safety interlocking correct |  |  |  |  |
| 12 | Correct insulating gas pressure |  |  |  |  |
| 13 | CT wirings in accordance with drawings |  |  |  |  |
| 14 | PT wirings in accordance with drawings |  |  |  |  |
| 15 | Bus bar connection torqued and tightened |  |  |  |  |
| 16 | HV cable terminations torqued and tightened |  |  |  |  |
| 17 | Connections ductor resistance checked |  |  |  |  |
| 18 | Manufacturers commissioning report |  |  |  |  |
| 19 | Cover cannot be removed during ‘off’ position |  |  |  |  |
| 20 | Locked and tagged |  |  |  |  |

4. REMARKS / REMEDIAL ACTIONS

| 5. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |