| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |

| 2. FUSE SWITCH DATA |
| --- |
| Switchboard Name: |
| Cubicle No.: | Rated Voltage: |
| Panel No.: | Rated Current: |
| Switchboard Type: | Frequency: |
| Insulation Level: | Fuse Size: |
| Short Time Withstand Current: |  |

3. VISUAL INSPECTION

| Checkpoints | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Location factory test and inspection |  |  |  |  |
| Manual supplied |  |  |  |  |
| Mechanical position indicators correct |  |  |  |  |
| Alarm indications correct |  |  |  |  |
| Key safety interlocking correct |  |  |  |  |
| Fuse switch undamaged |  |  |  |  |
| Fuse switch in accordance with drawings and spec. |  |  |  |  |

4. REMARKS / REMEDIAL ACTIONS

| 5. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |