| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| 2. HV SWITCHBOARD DATA |
| BOARD NAME: | MODULE NAME: |
| MANUFACTURER (MF): | TYPE: |
| SYSTEM VOLTAGE: | IP RATING: |
| MF DWG NO.(S): | WC DWG NO.(S): |
| 3. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| 1 | Location of switchboard. |  |  |  |  |
| 2 | Switchboard undamaged. |  |  |  |  |
| 3 | Switchboard orientated and arranged as per drawings. |  |  |  |  |
| 4 | Interlocks and keys as per drawings. |  |  |  |  |
| 5 | Labels as per drawings. |  |  |  |  |
| 6 | Switchboard internals clean. |  |  |  |  |
| 7 | All bolted joints tightened correctly. |  |  |  |  |
| 8 | HV cables installed correctly. |  |  |  |  |
| 9 | LV cables installed correctly. |  |  |  |  |
| 10 | DC, protection and control cables installed correctly. |  |  |  |  |
| 11 | Earth cables installed correctly. |  |  |  |  |
| 12 | Fuses installed correctly (size and orientation) |  |  |  |  |
| 13 | Barriers and signs preventing access to rear of switchboard installed. |  |  |  |  |
| 4. REMARKS / REMEDIAL ACTIONS |
| 5. SIGNOFFS |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |