| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O./ CONTRACT NO.: | LINE / ITEM NO.: |

| 2. INSTRUMENTATION SWITCHBOARD DATA |
| --- |
| Switchboard Name: |
| Manufacturer: | Type: |
| System voltage: | IP ratings: |
| Manufacturer drawings No.: | WaterCorp drawing No.: |

| 3. INSPECTION YES NO N/A COMMENTS/DETAILS |
| --- |
| 1 | Location of switchboard |  |  |  |  |
| 2 | Switchboard undamaged |  |  |  |  |
| 3 | Switchboard orientated and arranged as per drawings |  |  |  |  |
| 4 | Interlocks and keys as per drawings and all doors operate correctly |  |  |  |  |
| 5 | Labels as per drawings |  |  |  |  |
| 6 | Switchboard internals clean |  |  |  |  |
| 7 | All bolted joints tightened correctly |  |  |  |  |
| 8 | Instrumentation and LV cables installed correctly |  |  |  |  |
| 9 | Barriers and signs preventing access to rear of switchboard installed |  |  |  |  |
| 10 | DC, protection and control cables installed correctly |  |  |  |  |
| 11 | Earth cables installed correctly |  |  |  |  |
| 12 | Fuses installed correctly (size and orientation) |  |  |  |  |
| 13 | PLC units undamaged and connected as per drawings |  |  |  |  |
| 14 | OIP units undamaged and connected as per drawings |  |  |  |  |
| 15 | RTU units undamaged and connected as per drawings |  |  |  |  |

4. REMARKS / REMEDIAL ACTIONS

| 5. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |