| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. NO.: |  |
| 2. MAGNETIC FLOW METER DATA |
| MANUFACTURER: |  |
| WC MAG. FLOW METER NO.: | WC DWG NO.: |
| If section 3 completed in supply verification, leave section 3 below blank |
| 3.1 SENSOR DATA |
| MODEL: | ORDER NO.: |
| SERIAL NO.: | PRESSURE RATING: |
| DIAMETER |  |
| 3.2 TRANSMITTER DATA |
| MODEL: | ORDER NO.: |
| SERIAL NO.: | POWER SUPPLY: |
| RANGE: |  |
| COMMUNICATION (HARDWIRED, MODBUS, HART, PROFIBUS PA, PROFIBUS DP): |

| 4. TEST PROCEDURE | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Power/signal cables point-point checked |  |  |  |  |
| 2 | Transmitter power connections correct |  |  |  |  |
| 3 | Transmitter signal connections correct |  |  |  |  |
| 4 | Loop drawing as constructed |  |  |  |  |
| 5 | Programmed as per required setting |  |  |  |  |
| 6 | Flow direction and limit correct |  |  |  |  |
| 7 | Simulate/ verify flowrate output |  |  |  |  |
| 8 | Simulate/ verify flow total output |  |  |  |  |
| 9 | Simulate alarm output |  |  |  |  |
| 10 | Empty pipe alarm operates correctly |  |  |  |  |
| 11 | Full pipe with no flow operation correct |  |  |  |  |
| 12 | Full pipe with flow operation correct |  |  |  |  |
| 5. TEST VALUES - HARDWIRED |
| Simulated % Flow Rate | Current (mA) | Acceptable? |
| 0% |  |  |
| 50% |  |  |
| 100% |  |  |
| 6. REMARKS / REMEDIAL ACTIONS |

| 7. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |