| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |
| 2. POWER FACTOR CORRECTION UNIT DATA |
| MAKE: | MODEL: |
| SERIAL NO.: |  |
| ENCLOSURE PROTECTION: IP___ | CAPACITOR CONNECTION: |
| SYSTEM VOLTAGE: | CT RATIO: |
| RATING (Total KVAR): | FREQUENCY: |
| CAPACITOR VOLTAGE: | RATED CURRENT: |
| MF DWG NO.(S): | WC DRG NO.: |

| 3. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | PFC orientated as per drawings |  |  |  |  |
| 2 | Exhaust air duct installed (as required) |  |  |  |  |
| 3 | Identification and danger labels fitted |  |  |  |  |
| 4 | Door interlocks operate correctly |  |  |  |  |
| 5 | LV power cables installed correctly |  |  |  |  |
| 6 | Earthing cables installed correctly |  |  |  |  |
| 7 | Control and protection cables installed correctly |  |  |  |  |
| 8 | Arc flash trip cables installed correctly |  |  |  |  |
| 9 | Serial communication cable installed correctly |  |  |  |  |
| 10 | Door locks – Water Corp Bi-lock to suit Region |  |  |  |  |

4. REMARKS / REMEDIAL ACTIONS

| 5. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |