| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |
| 2. PRESSURE TRANSMITTER DATA |
| WC TAG NO.: | WC DESCRIPTION: |
| WC DWG NO.: | MANUFACTURER: |
| MODEL NO.: | SERIAL NO.: |
| OUTPUT: | CALIBRATED RANGE: |
| MANIFOLD: | PROCESS CONN.: |
| 3. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| 1 | Transmitter located, mounted, and oriented correctly. Label in place. |  |  |  |  |
| 2 | Offset distance (if applicable) measured and recorded |  |  |  | Distance: |
| 3 | Process connection correct |  |  |  |  |
| 4 | Loop power/4-20mA signal cable installed correctly (gland, termination, label) |  |  |  |  |
| 5 | DC polarity of cores at transmitter terminals correct |  |  |  |  |
| 6 | Transmitter earthed correctly |  |  |  |  |
| 7 | Profibus terminated and connected correctly |  |  |  |  |
| 4. REMARKS / REMEDIAL ACTIONS |
| 5. SIGNOFFS |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |