| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |
| 2. PRESSURE TRANSMITTER DATA |
| WC TAG NO.: | WC DESCRIPTION: |
| WC DWG NO.: | MANUFACTURER: |
| MODEL NO.: | SERIAL NO.: |
| OUTPUT: | CALIBRATED RANGE: |
| MANIFOLD: | PROCESS CONN.: |
| 3. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| 1 | Transmitter model no. as per drawing |  |  |  |  |
| 2 | Nameplate indicates “Ex” if required |  |  |  |  |
| 3 | Mounting kit (if required) supplied |  |  |  |  |
| 4 | Transmitter body undamaged |  |  |  |  |
| 5 | Transmitter local display undamaged |  |  |  |  |
| 6 | Transmitter manifold valves (if applicable) and process connections undamaged |  |  |  |  |
| 7 | Factory test certificate provided and attached |  |  |  |  |
| 8 | Instruction manual received |  |  |  |  |
| 4. REMARKS / REMEDIAL ACTIONS |
| 5. SIGNOFFS |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |