| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |

| 2. HV SWITCHBOARD DATA |
| --- |
| BOARD NAME: | MANUFACTURER (MF): |
| SYSTEM VOLTAGE: |  |
| MF DWG NO.(S): | WC DWG NO.(S): |

| 3. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Location of switchboard. |  |  |  |  |
| 2 | Switchboard undamaged. |  |  |  |  |
| 3 | Switchboard orientated and arranged as per drawings. |  |  |  |  |
| 4 | Interlocks and keys as per drawings and all doors operate correctly |  |  |  |  |
| 5 | Labels as per drawings. |  |  |  |  |
| 6 | Switchboard internals clean. |  |  |  |  |
| 7 | LV cables installed correctly. |  |  |  |  |
| 8 | DC, control & communication cables installed correctly. |  |  |  |  |
| 9 | Earth and screen cables installed correctly. |  |  |  |  |
| 10 | AC & DC fuses installed correctly (size and orientation) |  |  |  |  |

4. REMARKS / REMEDIAL ACTIONS

| 5. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |