| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |

| 2. STARTER DATA MOTOR DATA |
| --- |
| MAKE: | MOTOR NO.: |
| SERIAL NO.: | ROTOR O/C VOLTAGE: |
| TYPE: | ROTOR S/C CURRENT: |
| KW: | STATOR VOLTAGE : |
| ENCLOSURE PROTECTION: | STATOR CURRENT : |
| COOLING: | NOMINAL SPEED : |
| OIL TYPE/ QTY: |  |

| 3. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Check starter is located as per drawings |  |  |  |  |
| 2 | Check the installed starter is undamaged |  |  |  |  |
| 3 | Check starter is positioned correctly and hold down bolts are tight |  |  |  |  |
| 4 | Check oil bund is correctly positioned |  |  |  |  |
| 5 | Check oil drain valve is installed correctly |  |  |  |  |
| 6 | Check starter earthing cable is connected correctly |  |  |  |  |
| 7 | Check starter power and control cables are connected correctly |  |  |  |  |
| 8 | Check rotor cables are connected correctly |  |  |  |  |
| 9 | Check any standard control wiring modifications required to suit motor control circuit are correct. |  |  |  |  |
| 10 | Check that final run contactor additional delta connections (if required) are installed correctly |  |  |  |  |
| 11 | Fill starter with specified insulating oil and confirm at correct level and no leaks |  |  |  |  |

4. REMARKS / REMEDIAL ACTIONS

| 5. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |