| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |

| 2. STARTER DATA MOTOR DATA |
| --- |
| MAKE: | MOTOR NO.: |
| SERIAL NO.: | ROTOR O/C VOLTAGE: |
| TYPE: | ROTOR S/C CURRENT: |
| KW: | STATOR VOLTAGE : |
| ENCLOSURE PROTECTION: | STATOR CURRENT : |
| COOLING: | NOMINAL SPEED : |
| OIL TYPE/ QTY: |  |

| 3. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Megger starter, record values and confirm as acceptable |  |  |  |  |
| 2 | With motor line contactor isolated and earthed, do an emergency start. |  |  |  |  |
| 3 | Confirm starter steps through correctly |  |  |  |  |
| 4 | Confirm indicator lights operate correctly |  |  |  |  |
| 5 | Confirm a simulated oil over-temperature fault interfaces with the motor control circuit correctly |  |  |  |  |
| 6 | With the motor line contactor isolated and earthed, do a normal start. |  |  |  |  |
| 7 | Confirm status and alarm inputs to the PLC interface correctly |  |  |  |  |
| 8 | Recheck the oil level is acceptable |  |  |  |  |
| 9 | With the motor line contactor in the operating position, but motor decoupled, do a start and confirm expected operation. |  |  |  |  |
| 10 | Couple motor to pump and do a proper start. Record stator current and confirm stage times and current values are as expected. |  |  |  |  |

4. REMARKS / REMEDIAL ACTIONS

| 5. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |