| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |

| 2. STARTER DATA MOTOR DATA |
| --- |
| MAKE: | MOTOR NO.: |
| SERIAL NO.: | ROTOR O/C VOLTAGE: |
| TYPE: | ROTOR S/C CURRENT: |
| KW: | STATOR VOLTAGE : |
| ENCLOSURE PROTECTION: | STATOR CURRENT : |
| COOLING: | NOMINAL SPEED : |
| OIL TYPE/ QTY: |  |

| 3. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Location of factory test and inspection |  |  |  |  |
| 2 | Visual inspection results, provided & attached |  |  |  |  |
| 3 | Insulation Resistance measurements, provided and attached |  |  |  |  |
| 4 | Measurement of starting resistance, stage by stage, provided and attached |  |  |  |  |
| 5 | Measurement of starting time, stage by stage, provided and attached |  |  |  |  |
| 6 | Location of delivery inspection |  |  |  |  |
| 7 | Starter undamaged |  |  |  |  |
| 8 | Starter in accordance with drawings and specification |  |  |  |  |
| 9 | Manual supplied |  |  |  |  |
| 10 | Power and control drawings supplied |  |  |  |  |

| 4. REMARKS / REMEDIAL ACTIONS |
| --- |
| 5. SIGNOFFS |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |