**Referenced to Water Corporation Standards: DS21, DS22 and DS26-22.**

|  |  |
| --- | --- |
| **1. GENERAL DATA** | |
| PROJECT NAME: | PROJECT NO: |
| WC P.O. / CONTRACT NO: | LINE / ITEM NO: |

|  |  |
| --- | --- |
| **2. STARTER DATA** | |
| MAKE: | SERIAL NO: |
| TYPE: |  |
| KW: |  |
| MAIN CIRCUIT VOLTS: | CONTROL CIRCUIT VOLTS: |
| COOLING: | ENCLOSURE PROTECTION: |
| OIL TYPE/ QTY: |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **3. INSPECTION** | | **DONE**  **/YES** | **NO** | **N/A** | **COMMENTS/DETAILS** |
| 1 | Check starter is located as per drawings. |  |  |  |  |
| 2 | Check the installed starter is undamaged. |  |  |  |  |
| 3 | Check starter is positioned correctly and hold down bolts are tight. |  |  |  |  |
| 4 | Check oil bund is correctly positioned. |  |  |  |  |
| 5 | Check oil drain valve is installed correctly. |  |  |  |  |
| 6 | Check starter earthing cable is connected correctly. |  |  |  |  |
| 7 | Check starter power and control cables are connected correctly. |  |  |  |  |
| 8 | Check rotor cables are connected correctly. |  |  |  |  |
| 9 | Check any standard control wiring modifications required to suit motor control circuit are correct. |  |  |  |  |
| 10 | Check that final run contactor additional delta connections (if required) are installed correctly. |  |  |  |  |
| 11 | Fill starter with specified insulating oil and confirm at correct level and no leaks. |  |  |  |  |

|  |
| --- |
| **4. REMARKS / REMEDIAL ACTIONS** |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **5. SIGNOFFS** | |  | | |
| NAME (PRINT) | COMPANY / ROLE | | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | | SIGNATURE | DATE |