**Referenced to Water Corporation Standards: DS26-14, DS26-18, DS26-19, DS26-25, and DS26-40.**

|  |
| --- |
| **1. GENERAL DATA** |
| PROJECT NAME: | PROJECT NO: |
| IDENTIFICATION: |  |

|  |
| --- |
| **2. VARIABLE SPEED DRIVE DATA** |
| MANUFACTURER (MF): |  |
| TYPE: HV [ ]  LV [ ]  With Input Isolating TX [ ]  Part of a System [ ]  Soft Starter [ ]  |
| MODEL NO: | SERIAL NO: |
| INPUT VOLTAGE: | MOUNTING: FLOOR [ ]  WALL: [ ]  |
| COOLING: PRIMARY: AIR [ ]  | SECONDARY: AIR [ ]  WATER [ ]  |
| WC DWG NO.(S): | MF DWG NO.(S): |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **3. INSPECTION** | **DONE****/YES** | **NO** | **N/A** | **COMMENTS/DETAILS** |
| 1 | Location of Starter. |  |
| 2 | Starter undamaged. | [ ]  | [ ]  | [ ]  |  |
| 3 | Starter orientated as per drawings. | [ ]  | [ ]  | [ ]  |  |
| 4 | Starter exhaust air ductwork connected. | [ ]  | [ ]  | [ ]  |  |
| 5 | Starter door interlocks operate correctly. | [ ]  | [ ]  | [ ]  |  |
| 6 | Starter Mains cables installed correctly. | [ ]  | [ ]  | [ ]  |  |
| 7 | Starter Control cables installed correctly.  | [ ]  | [ ]  | [ ]  |  |
| 8 | Starter Earth cables installed correctly. | [ ]  | [ ]  | [ ]  |  |
| 9 | External Starter control, protection and monitoring cables installed correctly. | [ ]  | [ ]  | [ ]  |  |

|  |
| --- |
| **4. REMARKS / REMEDIAL ACTIONS** |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |

|  |  |
| --- | --- |
| **5. SIGNOFFS** |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |