| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |
| 2. HV SWITCHBOARD DATA |
| BOARD NAME: | MODULE NAME: |
| MANUFACTURER (MF): | TYPE: |
| SYSTEM VOLTAGE: | IP RATING: |
| MF DWG NO.(S): | WC DWG NO.(S): |
| 3. INSPECTION & TEST | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| 1 | Location of factory test and inspection. |  |  |  |  |
| 2 | Equipment as per specification and drawings. |  |  |  |  |
| 3 | Visual inspection results provided & attached. |  |  |  |  |
| 4 | SF6 gas pressure verification provided and attached. |  |  |  |  |
| 5 | Mechanical operation verification provided & attached. |  |  |  |  |
| 6 | Interlocks operation verification provided & attached. |  |  |  |  |
| 7 | Correct wiring verification provided & attached. |  |  |  |  |
| 8 | Power frequency voltage test results provided & attached. |  |  |  |  |
| 9 | Auxiliary & control dielectric test results provided & attached. |  |  |  |  |
| 10 | Main circuit resistance test results provided & attached. |  |  |  |  |
| 11 | Earth switch resistance test results provided & attached. |  |  |  |  |
| 12 | CT accuracy test results provided & attached. |  |  |  |  |
| 13 | VT accuracy test results provided & attached. |  |  |  |  |
| 14 | Instrumentation accuracy test results provided & attached. |  |  |  |  |
| 15 | Control test results provided & attached. |  |  |  |  |
| 16 | Protection relay test results (at 6 points by secondary injection with WC settings) provided & attached. |  |  |  |  |
| 17 | Protection relay test results (at 1 points by primary injection with WC settings) provided & attached. |  |  |  |  |
| 18 | Location of delivery inspection. |  |  |  |  |
| 19 | Equipment undamaged. |  |  |  |  |
| 20 | Manuals supplied. |  |  |  |  |
| 4. REMARKS / REMEDIAL ACTIONS |
| 5. SIGNOFFS |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |