| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| 2. HV SWITCHBOARD DATA |
| BOARD NAME: | MODULE NAME: |
| MANUFACTURER (MF): | TYPE: |
| SYSTEM VOLTAGE: | IP RATING: |
| MF DWG NO.(S): | WC DWG NO.(S): |
| 3. INSPECTION & TEST | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| 1 | Main circuit resistance tested & results attached |  |  |  |  |
| 2 | Earth switch resistance tested & results attached |  |  |  |  |
| 3 | Power frequency voltage test completed & results attached |  |  |  |  |
| 4 | All indication lighting and control circuitry tested and operating correctly |  |  |  |  |
| 5 | Circuit breaker spring charging operating correctly |  |  |  |  |
| 6 | Megger, Hi-pot and ducter testing completed |  |  |  |  |
| 7 | Protection relay tested by secondary injection with WC settings & results attached. Physical trip of circuit breaker confirmed |  |  |  |  |
| 8 | All steelwork and paintwork free of damage |  |  |  |  |
| 9 | All doors open/shut correctly |  |  |  |  |
| 10 | Nameplate details match hardware and design |  |  |  |  |
| 11 | Mechanical operation of all switches, earth switches, disconnectors, circuit breakers (including visual checks through viewing ports) and interaction with interlocks and covers verified |  |  |  |  |
| 12 | Record voltages and confirm phase rotation correct when switchboard energised |  |  |  | R-W= W-B= B-R= R-N= W-N= B-N= R-E= W-E= B-E= |
| 14 | Auto/manual electrical controls of circuit breaker & changeover switches (including those associated with generators and VSDs) confirmed |  |  |  |  |
| 16 | All status indications back to PLC confirmed |  |  |  |  |
| 4. REMARKS / REMEDIAL ACTIONS |
| 5. SIGNOFFS |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |