| 1. GENERAL DATA |  |
| --- | --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |

| 2. HV SWITCHBOARD DATA |  |
| --- | --- |
| BOARD NAME: | MODULE NAME: |
| MANUFACTURER (MF): | TYPE: |
| SYSTEM VOLTAGE: | IP RATING: |
| MF DWG NO.(S): | WC DWG NO.(S): |

| 3. INSPECTION & TEST |  | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- | --- |
| 1 | Location of factory test and inspection |  |  |  |  |
| 2 | Equipment as per specification and drawings |  |  |  |  |
| 3 | Visual inspection results, provided & attached |  |  |  |  |
| 4 | Correct wiring verification, provided & attached |  |  |  |  |
| 5 | Power frequency voltage test results, provided & attached |  |  |  |  |
| 6 | Auxiliary & control dielectric test results, provided & attached |  |  |  |  |
| 7 | Main circuit resistance test results, provided & attached |  |  |  |  |
| 8 | VT accuracy test results, provided & attached |  |  |  |  |
| 9 | Control test results, provided & attached |  |  |  |  |
| 10 | Protection relay test results (at 6 points by secondary injection with WC settings), provided & attached |  |  |  |  |
| 11 | Protection relay test results (at 1 point by primary injection with WC settings), provided & attached |  |  |  |  |
| 12 | Location of delivery inspection |  |  |  |  |
| 13 | Equipment undamaged |  |  |  |  |
| 14 | Manuals supplied |  |  |  |  |

4. REMARKS / REMEDIAL ACTIONS

| 5. SIGNOFFS |  |  |  |  |
| --- | --- | --- | --- | --- |
| NAME (PRINT) | COMPANY / ROLE |  | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE |  | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE |  | SIGNATURE | DATE |