1. GENERAL DATA

PROJECT NAME:

PROJECT NO.:

| 2. HV SWITCHROOM DATA |
| --- |
| ROOM TITLE: | FED FROM: |
| VOLTAGE: |  |

| 3. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 3.1 General |
| 1 | All painting/wall coverings are complete? |  |  |  |  |
| 2 | Any holes/gouges have been filled and ‘made good’? |  |  |  |  |
| 3 | Any floor coverings are complete, intact and undamaged? |  |  |  |  |
| 4 | All specific racking, switching tools and equipment, including castel key units, are accounted for and available? |  |  |  |  |
| 5 | Equipment in previous item located on vendor installed retaining clips or purpose built wall brackets/cabinets installed within the switchroom? |  |  |  |  |
| 6 | All “tag and lockout” equipment (ie tags, locks, scissors clips etc) are accounted for and available? |  |  |  |  |
| 3.2 Signage |
| 1 | Appropriate signage exists on every switchroom entrance? |  |  |  |  |
| 2 | All covers and doors allowing access to High Voltage parts have adequate signage? |  |  |  |  |
| 3 | Information signage with reference to emergency resuscitation procedures displayed inside switchroom? |  |  |  |  |
| 4 | Information signage with reference to emergency contact telephone numbers displayed inside switchroom? |  |  |  |  |
| 3.3 Access |
| 1 | All doors that allow access to the switchroom are of sufficient dimensions? |  |  |  |  |
| 2 | All doors that allow access to the switchroom fitted with dust sealing strip which is intact and functional? |  |  |  |  |
| 3 | Sufficient exit facilities to allow persons to leave from any part of the switchroom under emergency conditions? |  |  |  |  |
| 4 | All access doors to the switchroom open in the direction of egress without the use of key or tool? |  |  |  |  |
| 3. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| 5 | Functional operation of the ‘door status signal’ correct? |  |  |  |  |
| 3.4 Clearances |
| 1 | Adequate clearing distance around all items of equipment? |  |  |  |  |
| 2 | Manufacturers’ instructions followed with repsect to adequate clearances between installed panels? |  |  |  |  |
| 3.5 Fire Protection |
| 1 | Correct fire extinguishers have been installed, consistent with design drawings? |  |  |  |  |
| 2 | Fire extinguisher signage is fitted to indicate fire extinguisher type and location? |  |  |  |  |
| 3 | All smoke/heat detectors installed in accordance with design drawings? |  |  |  |  |
| 4 | All vendor testing documentation sighted? |  |  |  |  |
| 5 | All vendor testing documentation sighted for Fire Extinguishing Gas system (if installed)? |  |  |  |  |
| 3.6 Penetrations |
| 1 | All penetrations reinstated/sealed by suitable fire rated application/system? |  |  |  |  |
| 2 | Any other cable/ladder penetrations to the switchroom have been filled by a suitable filling medium? |  |  |  |  |
| 3.7 Lighting and Small Power |  |  |  |  |
| 1 | Any associated ‘Lighting and Small Power’ ITRs have been completed? |  |  |  |  |
| 2 | Emergency light fitting over every exit to the switchroom? |  |  |  |  |
| 3 | Lighting levels are sufficient? |  |  |  |  |
| 4 | Light fittings NOT installed directly over panels? |  |  |  |  |
| 5 | Unhindered access to all GPOs? |  |  |  |  |
| 3.8 Earthing |
| 1 | All associated earthing ITRs have been completed? |  |  |  |  |
| 2 | All cable ladders earthed in accordance with design drawings? |  |  |  |  |
| 3 | All metal door frames earthed in accordance with design drawings? |  |  |  |  |
| 4 | All metal cableway covers earthed in accordance with design drawings? |  |  |  |  |
| 5 | All cableway covers correctly installed? |  |  |  |  |
| 6 | All drawings marked up to ‘as-built’ status? |  |  |  |  |

5. REMARKS / REMEDIAL ACTIONS

| 6. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |