| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |

| 2. TRANSFORMER DATA |
| --- |
| MAKE: | MODEL: |
| SERIAL NO.: | TYPE: |
| ENCLOSURE PROTECTION: | COOLING: |
| INSULATION CLASS: | VECTOR GROUP: |
| RATING: | FREQUENCY: |
| PRIMARY VOLTAGE: | PRIMARY CURRENT: |
| SECONDARY VOLTAGE: | SECONDARY CURRENT: |
| TERTIARY VOLTAGE: | TERTIARY CURRENT: |
| MF DWG NO.(S): | WC TRANSFORMER NO.: |

| 3. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| Transformer Building |
| 1 | Frame Earthing |  |  |  |  |
| 2 | Doors |  |  |  |  |
| 3 | Panels (Tilt Ups) |  |  |  |  |
| 4 | General: Connection Check eg. Bolts and nuts |  |  |  |  |
| Transformer Earthing |
| 1 | Incoming Earthing |  |  |  |  |
| 2 | HV Termination Earthing |  |  |  |  |
| 3 | Secondary Termination Earthing |  |  |  |  |
| 4 | Surge Diverter Earthing |  |  |  |  |
| 5 | Transformer Frame Earthed |  |  |  |  |
| 6 | Transformer House eg. Connection tight |  |  |  |  |
| 7 | Earthing in accordance with single line diagram |  |  |  |  |

4. REMARKS / REMEDIAL ACTIONS

| 5. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |