| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. / CONTRACT NO.: | LINE / ITEM NO.: |

| 2. UPS DATA |
| --- |
| Manufacturer: | Model No.: |
| Input: | Input frequency: |
| Input voltage: | Input current: |
| By-pass input: | By-pass input frequency: |
| By-pass input voltage: | By-pass input current: |
| Output: | Output frequency: |
| Output voltage: | Output current: |
| Battery (DC): | Bypass switch Serial No.: |

| 3. BATTERY BANK FOR UPS |
| --- |
| Serial No.: | Circuit breaker rating: |
| Battery type: | Nominal terminal voltage: |
| Battery Capacity: | Total cells: |

| 4. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | UPS orientated and arranged as per drawings |  |  |  |  |
| 2 | Interlocks and keys as per drawings and all doors operate correctly |  |  |  |  |
| 3 | Labels as per drawings |  |  |  |  |
| 4 | UPS internals clean |  |  |  |  |
| 5 | All bolted joints tightened correctly |  |  |  |  |
| 6 | LV cables installed correctly |  |  |  |  |
| 7 | DC, protection and control cables installed correctly |  |  |  |  |

5. REMARKS / REMEDIAL ACTIONS

| 6. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |