| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O NO.: | LINE NO: |
| 2. ULTRASONIC FLOW METER DATA |
| MANUFACTURER: |  |
| MODEL NO.: | SERIAL NO.: |
| WC FLOW METER NO.: | WC DWG NO.: |
| 3.1 SENSOR DATA |
| MODEL NO.: | SERIAL NO.: |
| MOUNTING TYPE: | COUPLING TYPE: |
| 3.2 TRANSMITTER DATA |
| MODEL NO.: | SERIAL NO.: |
| RANGE (units): | POWER SUPPLY: |
| 4. TEST PROCEDURE | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| 1 | Power/signal cables point-point checked |  |  |  |  |
| 2 | Transmitter power connections correct |  |  |  |  |
| 3 | Transmitter signal connections correct |  |  |  |  |
| 4 | Loop drawing as constructed |  |  |  |  |
| 5 | Power on, no errors displayed |  |  |  |  |
| 6 | Programmed as per parameter sheet |  |  |  |  |
| 7 | Simulate analogue output |  |  |  |  |
| 8 | Simulate digital output |  |  |  |  |
| 9 | Simulate relay output |  |  |  |  |
| 10 | Signal strength normal |  |  |  |  |
| 11 | Full pipe with no flow operation correct |  |  |  |  |
| 12 | Full pipe with flow operation correct |  |  |  |  |
| 5. TEST VALUES |
| Simulated % Flow Rate | Current (mA) | Acceptable ? | Digital Pulse Rate | Acceptable ? |
| 0% |  |  |  |  |
| 50% |  |  |  |  |
| 100% |  |  |  |  |
| Reverse Flow (additional test values if applicable) |
| 0% |  |  |  |  |
| 50% |  |  |  |  |
| 100% |  |  |  |  |
| Simulated Alarm Relay Acceptable? |  |
| Direction/Limit Acceptable? | Signal Strength Acceptable? |
| 6. REMARKS / REMEDIAL ACTIONS |
| 7. PARAMETERS | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| NOTE: This parameter list is generic and should be checked as appropriate with any specific additional parameters recorded. If a parameter has been assumed add a comment. |
| 1 | Sensor Type |  |  |  |  |
| 2 | Sensor Configuration |  |  |  |  |
| 3 | Pipe Diameter |  |  |  |  |
| 4 | Pipe Circumference |  |  |  |  |
| 5 | Pipe Material |  |  |  |  |
| 6 | Pipe Sound Velocity |  |  |  |  |
| 7 | Wall Thickness |  |  |  |  |
| 8 | Liner Material |  |  |  |  |
| 9 | Liner Sound Velocity |  |  |  |  |
| 10 | Liner Thickness |  |  |  |  |
| 11 | Pipe Roughness |  |  |  |  |
| 12 | Liquid |  |  |  |  |
| 13 | Temperature (of liquid) |  |  |  |  |
| 14 | Pressure |  |  |  |  |
| 15 | Liquid Sound Velocity |  |  |  |  |
| 16 | Liquid Viscosity |  |  |  |  |
| 17 | Liquid Density |  |  |  |  |
| 18 | Sensor Position |  |  |  |  |
| 19 | Wire Length |  |  |  |  |
| 20 | Sensor Distance |  |  |  |  |
| 21 | Unit Volume Flow |  |  |  |  |
| 22 | Unit Totaliser |  |  |  |  |
| 23 | Unit Temperature |  |  |  |  |
| 24 | Unit Length |  |  |  |  |
| 25 | Unit Velocity |  |  |  |  |
| 26 | Analog Output Range |  |  |  |  |
| 27 | Analogue Output Damping |  |  |  |  |
| 28 | Pulse Output Value |  |  |  |  |
| 29 |  |  |  |  |  |
| 30 |  |  |  |  |  |
| 31 |  |  |  |  |  |
| 7. SIGNOFFS |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |