| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. NO.: | LINE NO.: |
| 2. ULTRASONIC FLOW METER DATA |
| MANUFACTURER: |  |
| MODEL NO.: | SERIAL NO.: |
| WC FLOW METER NO.: | WC DWG NO.: |
| 3.1 SENSOR DATA |
| MODEL NO.: | SERIAL NO.: |
| MOUNTING TYPE: | COUPLING TYPE: |
| 3.2 TRANSMITTER DATA |
| MODEL NO.: | SERIAL NO.: |
| RANGE (units): | POWER SUPPLY: |
| 4. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| 1 | Location of inspection |  |  |  |  |
| 2 | Factory test results provided |  |  |  |  |
| 3 | Components undamaged |  |  |  |  |
| 4 | Sensors/transducers supplied |  |  |  |  |
| 5 | Sensor coupling material supplied |  |  |  |  |
| 6 | Sensor mounting components supplied |  |  |  |  |
| 7 | Converter supplied |  |  |  |  |
| 8 | Connection cables supplied |  |  |  |  |
| 9 | Operating manual supplied |  |  |  |  |
| 10 | Locate and verify name plate details match flowmeter specification. |  |  |  |  |
| 11 | Direction of flow clearly visible on sensors/transducers body |  |  |  |  |
| 12 | Confirm the ambient temperature specified is within the operating temperature range of the transmitter and sensor/transducers |  |  |  |  |
| 13 | Unit protected for storage / shipping |  |  |  |  |
| 5. REMARKS / REMEDIAL ACTIONS |
| 6. SIGNOFFS |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |