| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |
| WC P.O. NO.: | LINE NO.: |

| 2. ULTRASONIC LEVEL TRANSMITTER DATA |
| --- |
| MANUFACTURER: |  |
| MODEL NO.: | SERIAL NO.: |
| WC TAG NO.: | WC DWG NO.: |
| RANGE: | POWER SUPPLY: |

| 3. INSPECTION | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Confirm programming ok | □ | □ | □ |  |
| 2 | Confirm accuracy at set levels | □ | □ | □ |  |
|  | LEVELS |  | RESULTS |
|  | Overflow To Environment |  |  |
|  | Extra High Level (Alarm) |  |  |
|  | Flow to Storage |  |  |
|  | High Level (Alarm) |  |  |
|  | High Level (Standby Cut In) |  |  |
|  | Mid Level (Duty Cut In) |  |  |
|  | Low Level (Duty Cut Out) |  |  |
|  | Wet Well Depth |  |  |
| 3 | Settings saved to MDT Autosave | □ | □ | □ |  |

4. REMARKS / REMEDIAL ACTIONS

| 5. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |