| 1. GENERAL DATA |
| --- |
| PROJECT NAME: | PROJECT NO.: |

| 2. VARIABLE SPEED DRIVE DATA |
| --- |
| MODEL NO.: | SERIAL NO.: |
| MANUFACTURER (MF): | MF DWG NO.(S): |
| TYPE: | WC DWG NO.(S): |

| 3. TEST PROCEDURE | DONE /YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Record application and control mode. |  |  |  | See contractor’s test record. |
| 2 | Record VSD, motor, TX & switchgear rating plate data. |  |  |  | See contractor’s test record. |
| 3 | Visually check VSD. |  |  |  | See contractor’s test record. |
| 4 | Megger VSD and attach results. |  |  |  | See contractor’s test record. |
| 5 | Check system cabling. |  |  |  | See contractor’s test record. |
| 6 | Check hardware control. |  |  |  | See contractor’s test record. |
| 7 | Check auxiliary voltage control. |  |  |  | See contractor’s test record. |
| 8 | Check software control. |  |  |  | See contractor’s test record. |
| 9 | Check all external signals. |  |  |  | See contractor’s test record. |
| 10 | Start up VSD. |  |  |  | See contractor’s test record. |
| 11 | No load test of uncoupled motor. |  |  |  | See contractor’s test record. |
| 12 | Record and save all parameter settings |  |  |  | See contractor’s test record. |
| 13 | Record all outstanding actions |  |  |  | See contractor’s test record. |
| 4. REMARKS / REMEDIAL ACTIONS |
| 5. SIGNOFFS |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |