| All ITR documents to be completed & witnessed by competent person/s Compliance to be achieved to contract requirements and all latest versions of applicable standards |
| --- |
| 1. REFERENCE INFORMATION |
| INSPECTION DATA | ASSET DATA |
| PROJECT NAME: | MANUFACTURER: |
| LOCATION: | INSPECTION DATE |
| INSPECTOR NAME: |  |
| PROJECT / CONTRACT NO: | DESIGN CRITERIA: |
| ATTENDEES: |

| 2. INSPECTION PREPARATION |
| --- |
|  | OSH compliance requirements. |
|  | Obtain QA / QC documentation (review outstanding items). |
|  | Relevant Water Corporation standards i.e. DS 31-01 |
|  | Relevant Australian Standards. |
|  | Supporting contract documentation / approved drawings. |
|  | Provision of required test equipment. |
|  | Provision of required test reports and certificates |

| 3. INSPECTION | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| GENERAL AND PRE-INSTALLATION |
| 1 | Confirm that the damper location is correct as per drawings? |  |  |  |  |
| 2 | Confirm supply verification complete? |  |  |  |  |
| 3 | Mating duct as per specification? |  |  |  | Size: |
| 4 | Mating duct clean? |  |  |  |  |
| 5 | Mating ducts sufficiently aligned? |  |  |  | Measured misalignment: _______mm |
| INSTALLATION |
| 6 | Confirm that gaskets are as per specification? |  |  |  |  |
| 7 | Confirm that the gaskets suit the flanges? |  |  |  |  |
| 8 | Confirm surface finish of the damper is not damaged? |  |  |  |  |
| 9 | Verify that all bolts have been torqued to manufacturer’s recommendations |  |  |  | Final bolt torques: _____________Nm |
| 10 | Confirm all bolts sizes, materials and grades agree with manufacturers recommendations |  |  |  | Size: ________ Material: __________ Grade: 4.6 8.8 Other: _______ |
| 11 | Confirm that associated nut grade agrees with manufacturers recommendations |  |  |  | Grade: 5 8 Other __________ |
| 12 | Confirm correct protrusion of bolt threads past nut |  |  |  | Protrusion: _____________________ |
| 13 | Confirm correct bolt tightening sequence has been followed |  |  |  |  |
| 14 | Verify that torque wrench / machine used is calibrated |  |  |  | Calibration certificate date: _________ |

| 4. TESTING (NOT APPLICABLE) | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |

| 5. REMARKS / REMEDIAL / FOLLOW UP ACTIONS | ACTION BY | TARGET DATE | STATUS |
| --- | --- | --- | --- |

| 6. SIGNOFFS |
| --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |