| - All ITR documents to be completed & witnessed by competent person/s - Compliance to be achieved to contract requirements and all latest versions of applicable standards |  |
| --- | --- |
| 1. REFERENCE INFORMATION |  |
| INSPECTION DATA | ASSET DATA |
| PROJECT NAME: | MANUFACTURER: |
| LOCATION: | INSPECTION DATE |
| INSPECTOR NAME: |  |
| PROJECT / CONTRACT NO: | DESIGN CRITERIA: |
| ATTENDEES: |  |

| 2. INSPECTION PREPARATION |  |
| --- | --- |
|  | OSH compliance requirements. |
|  | Obtain QA / QC documentation (review outstanding items). |
|  | Relevant Water Corporation standards. |
|  | Relevant Australian Standards. |
|  | Supporting contract documentation / approved drawings. |
|  | Provision of required test equipment. |
|  | Provision of required test reports and certificates; i.e. hydrostatic test, material certificates, etc. |
|  | Provision of completed construction verification |

| 3. INSPECTION PRELIMINARIES |  | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- | --- |
| 1 | “Punch list” reviewed and free of significant defects preventing asset pre-commissioning? |  |  |  |  |
| 2 | Hazard identification and risk assessment for asset pre-commissioning complete? |  |  |  |  |
| 4 | Mechanical site specific pre-requisite ITRs complete? |  |  |  |  |

*Contents of Section 4 (Inspection and Testing) are Asset Specific and shall reflect relevant SPS / Australian Standard(s) where practicable. Entries shall also be worded to reflect the procedures involved in a step-by-step manner; i.e. “Conduct visual inspection and ensure pre-start photographs are taken”, “Extract bearing housing covers to expose bearings and full shaft length”.

| 4. INSPECTION & TESTING |  | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- | --- |
| ACTUATED DAMPER |  |  |  |  |  |
| 1 | Confirm easy movement of damper during manual operation |  |  |  |  |
| 2 | Operate damper and set parameters as per damper manual |  |  |  |  |
| 3 | Operate damper using local controls |  |  |  |  |
| 4 | Operate damper using remote controls |  |  |  |  |
| 5 | Confirm correct operation of damper limit switches |  |  |  |  |
| 6 | If applicable adjust zero input and span over range |  |  |  |  |
| 7 | Confirm zero percent with loop calibrator |  |  |  | Output: |
| 8 | Confirm 50 percent with loop calibrator |  |  |  | Output: |
| 9 | Confirm 100 percent with loop calibrator |  |  |  | Output: |
| 10 | Confirm whether damper is fail to close or open, and test this function by isolating the actuator |  |  |  | Fail to __________ |
| MOTORISED DAMPER |  |  |  |  |  |
| 11 | Confirm location of air balance testing measurement point |  |  |  | Air flow: ________l/s |
| 12 | Confirm specified duty of damper |  |  |  | Air flow: ________l/s |
| 13 | Adjust damper to achieve required air flow |  |  |  |  |
| 14 | Confirm damper is locked in correct position |  |  |  |  |

*Contents of Section 5 to be retained where applicable (e.g. where coating inspection not completed during construction verification). Sections 6 & 7 to be retained in all ITRs.

| 5. COATINGS INSPECTION |  | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- | --- |
| 1 | Check that asset external coating is free of damage |  |  |  |  |

| 6. REMARKS / REMEDIAL / FOLLOW UP ACTIONS |  |  | ACTION BY | TARGET DATE |  | STATUS |
| --- | --- | --- | --- | --- | --- | --- |
| 7. SIGNOFFS |  |  |  |  |  |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE |  |  | DATE |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE |  |  | DATE |  |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE |  |  | DATE |  |

APPENDIX A – SITE SPECIFIC PRE-REQUISITES

| A1. MECHANICAL PRE-REQUISITES |  | DONE | NO | ITR / DOCUMENT REF. |
| --- | --- | --- | --- | --- |
|  |  |  |  | ITR-SV-M-DAMPER |
|  |  |  |  | ITR-CV-M-DAMPER |

APPENDIX A – SITE SPECIFIC PRE-REQUISITES (cont’d)

| A2. ELECTRICAL PRE-REQUISITES |  | DONE | NO | ITR / DOCUMENT REF. |
| --- | --- | --- | --- | --- |