| All ITR documents to be completed & witnessed by competent person/s Compliance to be achieved to contract requirements and all latest versions of applicable standards |
| --- |
| 1. REFERENCE INFORMATION |
| INSPECTION DATA | ASSET DATA |
| PROJECT NAME: | MANUFACTURER: |
| LOCATION: | INSPECTION DATE |
| INSPECTOR NAME: |  |
| PROJECT / CONTRACT NO: | DESIGN CRITERIA: |
| ATTENDEES: |

| 2. INSPECTION PREPARATION |
| --- |
|  | OSH compliance requirements. |
|  | Obtain QA / QC documentation (review outstanding items). |
|  | Relevant Water Corporation standards. |
|  | Relevant Australian Standards. |
|  | Supporting contract documentation / approved drawings. |
|  | Provision of required test equipment. |
|  | Provision of required test reports and certificates; i.e. hydrostatic test, material certificates, etc. |

| 3. INSPECTION | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| GENERAL |
| 1 | Locate and verify that name plate details match specification and drawings |  |  |  |  |
| 2 | O & M Manuals provided? Check contract requirement |  |  |  |  |
| 3 | Weight of damper clearly indicated? |  |  |  | Kg: |
| MATERIALS AND ARRANGEMENT |
| 4 | Verify construction materials with specification and relevant drawings |  |  |  | Blade material: |
| 5 | Confirm dimensions are correct |  |  |  | Width: _____________mm Height: _____________mm Length: _____________mm |
| 6 | Confirm damper is free of rattles, fluttering or slack movement? |  |  |  |  |
| 7 | Confirm of face dimensions equal to duct size? |  |  |  |  |
| 8 | Confirm damper is fitted with mating angle flanged cross joint connections |  |  |  |  |
| 9 | Confirm blade thickness agrees with DS35 Section 5? |  |  |  | Thickness: _________________mm |
| 10 | Confirm minimum blade size agrees with DS35 Section 5? |  |  |  | Blade dimensions: ________________mm |
| 11 | Confirm minimum spindle diameter agrees with DS35 Section 5? |  |  |  | Spindle diameter: _____________mm |
| 12 | Confirm spindle material is as per specification? |  |  |  | Spindle material: _____________ |
| 13 | Confirm bearings are as per specification? |  |  |  | Bearing type:_____________ |
| 14 | Confirm flange details are correct to suit connecting ductwork? |  |  |  |  |
| 15 | Confirm damper adjuster fitted and open and closed positions clearly marked |  |  |  |  |
| MOTORISED DAMPERS (IF APPLICABLE) |
| 16 | Confirm that side seal material agrees with DS35 Section 5? |  |  |  | Material:_____________ |
| 17 | Confirm that blade tip seal material agrees with DS35 Section 5? |  |  |  | Material:_____________ |
| 18 | Confirm bearings are as per specification? |  |  |  | Bearing type:_____________ |
| FIRE DAMPERS (IF APPLICABLE) |
| 19 | Confirm that the damper incorporates readily removable access panels for maintenance of dampers and replaceable links for fire and smoke detection? |  |  |  |  |
| 20 | Confirm fire hazard properties meet specification requirements |  |  |  | Check: Spread of flame index/Smoke developed index/Flammability index |
| 21 | Confirm that the damper is fitted with fusible links activated by either local heat or a low power external electrical impulse for smoke detection? |  |  |  |  |
| NON RETURN DAMPERS (IF APPLICABLE) |
| 22 | Confirm damper is fitted with a positively locking adjustment quadrant integral with the damper? |  |  |  |  |
| 23 | Confirm channel and blade material is as per specification? |  |  |  |  |

| 4. TEST | PASS | FAIL | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
|  | Test certificates received and acceptable: |  |  |  | Attach certificates to this record |
| 1 | Pressure loss test |  |  |  |  |
| 2 | Confirm damper is capable of adjustment over the design airflow range without excessive self generated windage noise |  |  |  |  |
| 3 | Confirm that linkages are securely connected to the blades and that blades rotate equally |  |  |  |  |
| 4 | Confirm motorised damper leakage rates do not exceed 25 L/sm2 at 1.5 kPa differential |  |  |  |  |
| 5 | Fire hazard indices of material test to AS 1530.3? |  |  |  |  |

| 5. REMARKS / REMEDIAL / FOLLOW UP ACTIONS | ACTION BY | TARGET DATE | STATUS |
| --- | --- | --- | --- |

| 6. SIGNOFFS |
| --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |