| All ITR documents to be completed & witnessed by competent person/s Compliance to be achieved to contract requirements and all latest versions of applicable standards |
| --- |
| 1. REFERENCE INFORMATION |
| INSPECTION DATA | ASSET DATA |
| PROJECT NAME: | MANUFACTURER: |
| LOCATION: | INSPECTION DATE |
| INSPECTOR NAME: |  |
| PROJECT / CONTRACT NO: | DESIGN CRITERIA: |
| ATTENDEES: |

| 2. INSPECTION PREPARATION |
| --- |
|  | OSH compliance requirements. |
|  | Obtain QA / QC documentation (review outstanding items). |
|  | Relevant Water Corporation standards i.e. DS 38-03 |
|  | Relevant Australian Standards. |
|  | Supporting contract documentation / approved drawings. i.e. JZ39-91-10 |
|  | Provision of required test equipment. |
|  | Provision of required test reports and certificates |

| 3. INSPECTION | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| GENERAL |
| 1 | Confirm that isolation joint location is correct as per drawings |  |  |  |  |
| 2 | Confirm supply verification complete |  |  |  |  |
| MATERIALS AND ARRANGEMENT |
| 3 | Confirm isolation gasket OD equals flange OD |  |  |  |  |
| 4 | Check that correct isolating bolt sleeves and washers have been installed according to bolt size |  |  |  |  |
| 5 | Verify gasket material, thickness and dielectric strength |  |  |  | Material: CMF Dielectric Strength ________________kV/min Thickness: _________________mm |
| 6 | Confirm all bolts sizes, material and grade are correct |  |  |  | Size: ________ Material: __________ Grade: 4.6 8.8 Other: _______ |
| 7 | Confirm that associated nut grade is correct |  |  |  | Grade: 5 8 Other __________ |
| 8 | Confirm correct protrusion of bolt threads past nut |  |  |  | Protrusion: _____________________ |
| 9 | Confirm correct bolt tightening sequence has been followed |  |  |  |  |
| 10 | Verify that all bolts have been torqued correctly |  |  |  | Final bolt torques: _____________Nm |
| 11 | Verify that torque wrench / machine used is calibrated |  |  |  | Calibration certificate date: _________ |
| 12 | Check that potential equalisation ring is installed (if applicable i.e. flowmeters) |  |  |  |  |
| 13 | Check earthing bolt and bonding cable is installed (if applicable i.e. flowmeters) |  |  |  |  |
| 14 | For buried pipe joints ensure stripping of HDPE pipe coating and wrapping of joint meets design standards |  |  |  |  |

| 4. TESTING | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | For buried isolating joints, use procedure CP-WTD-ITP-002 to test for isolation at joint |  |  |  |  |
| 2 | For above ground isolating joint, use procedure CP-WTD-ITP-001 to test for isolation at joint |  |  |  |  |

| 5. REMARKS / REMEDIAL / FOLLOW UP ACTIONS | ACTION BY | TARGET DATE | STATUS |
| --- | --- | --- | --- |

| 6. SIGNOFFS |
| --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |