- All ITR documents to be completed & witnessed by competent person/s

- Compliance to be achieved to contract requirements and all latest versions of applicable standards

| 1. REFERENCE INFORMATION |
| --- |
| INSPECTION DATA | ASSET DATA |
| PROJECT NAME: | MANUFACTURER: |
| LOCATION: | MF SERIAL NO: |
| INSPECTION DATE: | WC FLER / TAG NO: |
| INSPECTOR NAME: | TYPE / MODEL NO / SIZE: |
| PROJECT / CONTRACT NO: | DESIGN CRITERIA: |
| ATTENDEES: |

| 2. INSPECTION PREPARATION |
| --- |
|  | OSH compliance requirements. |
|  | Obtain QA / QC documentation (review outstanding items). |
|  | Relevant Water Corporation standards. |
|  | Relevant Australian Standards. |
|  | Supporting contract documentation / approved drawings. |
|  | Provision of required test equipment. |
|  | Provision of required test reports and certificates; i.e. hydrostatic test, material certificates, etc. |

| 3. INSPECTION | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| GENERAL |
| 1 | Conduct visual inspection, and ensure photographs are taken |  |  |  |  |
| 2 | Locate and verify that name plate/label details match specification and contract requirements |  |  |  | Check: Design Code/Volume Capacity/Outer Diameter / Flow Capacity/Year of Manufacture |
| 3 | Confirm if O&M Manuals have been provided (hardcopy / softcopy) |  |  |  | Hardcopy / softcopy? (please circle) |
| MATERIALS AND ARRANGEMENT |
| 4 | Verify construction materials with material certificates, specification and relevant drawings |  |  |  |  |
| 5 | Confirm major dimensions are correct as per drawing |  |  |  | Attach a copy of the Agitator drawing to this record sheet highlighting on the drawing which dimensions were checked. |
| 6 | Confirm lifting points are present, they are correctly rated and suitably marked |  |  |  |  |
|  | Chamber |
| 7 | Confirm Size / Volume of mixing chamber are correct |  |  |  |  |
| 8 | Confirm that the Plate is present in the vortex chamber |  |  |  |  |
|  | Agitator |
| 9 | Confirm that the Propellor Assembly type is correct |  |  |  |  |
| 10 | Confirm that the Grit Fluidiser type is correct |  |  |  |  |
| 11 | Confirm that the Agitator drive motor is correct |  |  |  | Power: _______ kW |
|  | Gearbox Seal |
| 12 | Confirm that the Seal Diameter is correct |  |  |  | Diameter: _____________ mm |
| 13 | Confirm that the Seal Material is correct |  |  |  | Material: ____________________ |

| 4. TEST | PASS | FAIL | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Not applicable |  |  |  |  |

| 5. COATINGS INSPECTION | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Not applicable |  |  |  |  |

| 6. REMARKS / REMEDIAL / FOLLOW UP ACTIONS | ACTION BY | TARGET DATE | STATUS |
| --- | --- | --- | --- |

| 7. SIGNOFFS |
| --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |