- All ITR documents to be completed & witnessed by competent person/s

- Compliance to be achieved to contract requirements and all latest versions of applicable standards

| 1. REFERENCE INFORMATION |
| --- |
| INSPECTION DATA | ASSET DATA |
| PROJECT NAME: | MANUFACTURER: |
| LOCATION: | MF SERIAL NO: |
| INSPECTION DATE: | WC FLER / TAG NO: |
| INSPECTOR NAME: | TYPE / MODEL NO / SIZE: |
| PROJECT / CONTRACT NO: | DESIGN CRITERIA: |
| ATTENDEES: |

| 2. INSPECTION PREPARATION |
| --- |
|  | OSH compliance requirements. |
|  | Obtain QA / QC documentation (review outstanding items). |
|  | Relevant Water Corporation standards. |
|  | Relevant Australian Standards. |
|  | Supporting contract documentation / approved drawings. |
|  | Provision of required test equipment (portable vibration monitor and temperature sensor). |
|  | Provision of required test reports and certificates |
|  | Provision of completed construction verification |

| 3. INSPECTION PRELIMINARIES | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | “Punchlist” reviewed and free of significant defects preventing asset pre-commissioning |  |  |  |  |
| 2 | Supply and Construction Verification ITRs complete |  |  |  |  |
| 3 | Hazard identification and risk assessment for asset pre-commissioning complete |  |  |  |  |
| 4 | Mechanical and electrical site-specific pre-requisite ITRs complete |  |  |  |  |

| 4. INSPECTION & TESTING | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| GENERAL |
| 1 | Conduct visual inspection, and ensure photographs are taken |  |  |  |  |
| 2 | Ensure power is available for all drives, instruments, and associated equipment |  |  |  |  |
| 3 | Confirm all instruments and associated equipment are operable & calibrated as required (i.e. measuring instrumentation, pumps, etc. ) |  |  |  |  |
| 4 | Confirm system is free of leaks |  |  |  |  |
| 5 | Confirm Ratchet Pawls are free to move, i.e., automatically fall down |  |  |  |  |
| OPERATION |
| 6 | Perform Bump Start, and verify smooth rotation, without vibration |  |  |  |  |
| 7 | Check Auger/Screw rotates at correct speed & correct direction when at 50 Hz |  |  |  | Speed (RPM): __________ |

| 5. REMARKS / REMEDIAL / FOLLOW UP ACTIONS | ACTION BY | TARGET DATE | STATUS |
| --- | --- | --- | --- |

| 6. SIGNOFFS |
| --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |