| All ITR documents to be completed & witnessed by competent person/s Compliance to be achieved to contract requirements and all latest versions of applicable standards |
| --- |
| 1. REFERENCE INFORMATION |
| INSPECTION DATA | ASSET DATA |
| PROJECT NAME: | MANUFACTURER: |
| LOCATION: | INSPECTION DATE |
| INSPECTOR NAME: |  |
| PROJECT / CONTRACT NO: | DESIGN CRITERIA: |
| ATTENDEES: |

| 2. INSPECTION PREPARATION |
| --- |
|  | OSH compliance requirements. |
|  | Obtain QA / QC documentation (review outstanding items). |
|  | Relevant Water Corporation standards. |
|  | Relevant Australian Standards. |
|  | Supporting contract documentation / approved drawings. |
|  | Provision of required test equipment. |
|  | Provision of required test reports and certificates; i.e. hydrostatic test, material certificates, etc. |

*Contents of Section 3 (Inspection) and Section 4 (Test) are Asset Specific and shall reflect relevant SPS / Australian Standard(s) where practicable. Entries shall also be worded to reflect the procedures involved in a step-by-step manner; i.e. “Conduct visual inspection and ensure pre-start photographs are taken”, “Extract bearing housing covers to expose bearings and full shaft length”.

| 3. INSPECTION | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| GENERAL |
| 1 | Locate and verify that name plate details match specification and contract requirements |  |  |  | Check: Number of nozzles per header/Flow Capacity/Number of headers |
| 2 | Confirm if O&M Manuals have been provided (hardcopy / softcopy) |  |  |  | Hardcopy / softcopy? (please circle) |
| MATERIALS AND ARRANGEMENT |
| 3 | Verify construction materials with material certs, specification and relevant drawings |  |  |  |  |
| 4 | Confirm major dimensions correct as per drawing |  |  |  | Attach a copy of the aerator drawing to this record sheet highlighting on the drawing which dimensions were checked. |
|  | Inlet/outlet pipe connections |  |  |  |  |
| 5 | - Flange standard correct? |  |  |  | Flange face: FF / RF |
| 6 | - Diameter correct? |  |  |  | Class: |
| 7 | - Pitch circle diameter correct? |  |  |  | PCD: _____________ mm |
| 8 | - Number and diameter of bolt holes correct? |  |  |  | No.:__________ Dia.:__________ mm |
| 9 | Confirm nozzles supplied meet WC standard dwg BX68-2-1 |  |  |  |  |
| 10 | Confirm floor is adequate sloped to the outlet to gradient detailed in drawings |  |  |  |  |
| 11 | Confirm internal ladders, grid meshing flooring, walkways, stairs complies with Australian Standards AS1657 and S151? |  |  |  |  |
| 12 | Wall sheeting thickness correct as per drawings? |  |  |  | Wall thickness: _____________ mm |
| 13 | Wall support structure correct as per drawing? |  |  |  |  |
| 14 | Confirm the control valves for each of the headers are of correct make and model |  |  |  |  |
| 15 | Confirm the control valve actuators are of correct make and model |  |  |  |  |
| 16 | Confirm whether a pressure transmitter on the inlet pipework has been installed and is of correct make and model |  |  |  |  |

| 4. TEST | PASS | FAIL | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Not applicable |  |  |  |  |

*Contents of Section 5 to be retained where applicable; i.e. if coatings inspection is required. Sections 6-7 to be retained in all ITRs.

| 5. COATINGS INSPECTION | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Review surface pre-treatment and/or preparation procedure (circle A1: Epoxy Coating on Steel/Cast Iron or state Other) |  |  |  | A1 / OTHER _________________ |
| 2 | Ensure that surface preparation was acceptable and free from contaminants prior to coating/complies to spec Consider dust and spent abrasive, oil and contamination, flash rusting, slag, porosity, weld spatter, sharp edges, free from laminations, free from burrs etc |  |  |  | Class of surface finish (if known): Profile (if known): Coating application (if known): |
| 3 | Fully cured coating system should be adherent while in their service condition (Method AS 3894.9) |  |  |  | Failure force (if known): |
| 4 | Assess degree of cure and hardness of coating is acceptable (method AS 3894.4). Allow sufficient drying and curing of the coating prior conducting thickness testing (if applicable). The length of time shall be obtained from the coating manufacture. |  |  |  | Method used: |
| 5 | Check coating type and verify in accordance with relevant specification (circle D1: Epoxy Coating on Steel/Cast Iron or state, : Protective Coating on Steel/Cast Iron or state, B2: Inorganic zinc silicate primed two pack acrylic coating) |  |  |  | A1 / D1 / B2 / OTHER _____________ |
| 6 | Visually inspect condition of coating appearance including uniformity, colour and free from any defect that could impair performance and/or appearance of coating. |  |  |  |  |

| 6. REMARKS / REMEDIAL / FOLLOW UP ACTIONS | ACTION BY | TARGET DATE | STATUS |
| --- | --- | --- | --- |

| 7. SIGNOFFS |
| --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |

# Footnotes

Refer to AS/NZS 1627 series for Metal Finishing – Preparation and Pre-treatment of Surfaces