All ITR documents to be completed & witnessed by competent person/s Compliance to be achieved to contract requirements and all latest versions of applicable standards

| 1. REFERENCE INFORMATION |
| --- |
| INSPECTION DATA | ASSET DATA |
| PROJECT NAME: | MANUFACTURER: |
| LOCATION: | MF SERIAL NO: |
| INSPECTION DATE: | WC FLER / TAG NO: |
| INSPECTOR NAME: | TYPE / MODEL NO / SIZE: |
| PROJECT / CONTRACT NO: | DESIGN CRITERIA: |
| ATTENDEES: |

| 2. INSPECTION PREPARATION |
| --- |
|  | OSH compliance requirements. |
|  | Obtain QA / QC documentation (review outstanding items). |
|  | Relevant Water Corporation standards. |
|  | Relevant Australian Standards. |
|  | Supporting contract documentation / approved drawings. |
|  | Provision of required test equipment. |
|  | Provision of required test reports. |

| 3. INSPECTION | YES | NO | N/A | COMMENTS / DETAILS |
| --- | --- | --- | --- | --- |
| GENERAL |
| Confirm product delivered conforms to purchase order, specification & drawing/s, including quantities, ratings & materials |  |  |  |  |
| Verify diffuser materials are free from damage (i.e. tearing, puncturing or fouling) |  |  |  |  |
| Verify diffuser batches are stored in a clean & cool location (i.e. Rubber) prior to installation |  |  |  |  |
| INSTALLATION |
| Confirm associated pipework installed as per design requirements, including pipe supports & diffuser spacing intervals |  |  |  |  |
| Verify diffuser to pipework connection details match (i.e. grommets, saddles or threaded) |  |  |  | Connection Type: |
| Confirm diffuser/s installed to manufacturers recommendations & design drawings |  |  |  |  |
| Verify blower assemblies, header piping, air laterals, etc…. are properly installed |  |  |  |  |
| Random sample check diffuser / pipework connections & that disc / membrane are adequately secure |  |  |  |  |

| 4. COATINGS INSPECTION (as applicable) | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Check that asset external coating is free of damage |  |  |  | Repair if required according to coating manufacturers recommendation |

| 5. REMARKS / REMEDIAL / FOLLOW UP ACTIONS | ACTION BY | TARGET DATE | STATUS |
| --- | --- | --- | --- |

| 6. SIGNOFFS |
| --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |