1. GENERAL DATA

PROJECT NAME:

PROJECT NO.:

WC P.O. / CONTRACT NO.:

| 2. EQUIPMENT DATA |
| --- |
| EQUIPMENT TITLE: | LOCATION: |
| MAKE: | MODEL: |
| TYPE: | WC DWG NO: |
| SERIAL NO: |  |

| 3. INSTALLATION CHECK | YES | NO | N/A | COMMENTS/DETAILS |
| --- | --- | --- | --- | --- |
| 1 | Confirm Miniwasher, covers and support stands available |  |  |  |  |
| 2 | Confirm that all hold down bolts available |  |  |  |  |
| 3 | Position unit with respect to relevant inlets |  |  |  |  |
| 4 | Mark & cut inlet cover plate and gasket to suit Bandscreen launder |  |  |  |  |
| 5 | Fasten support stands down to concrete |  |  |  |  |
| 6 | Fit covers as appropriate |  |  |  |  |
| 7 | Confirm oil level in gearbox |  |  |  |  |
| 8 | Connect clean water feed to wash solenoids |  |  |  |  |
| 9 | Connect discharge pipe and flanges |  |  |  |  |
| 10 | Fix and install all electrical conduits, cables and junction box’s |  |  |  |  |

4. REMARKS / REMEDIAL ACTIONS

| 5. SIGNOFFS |  |
| --- | --- |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |
| NAME (PRINT) | COMPANY / ROLE | SIGNATURE | DATE |